## Slide 1: How Does MS Work? Ehsan Zangene 5th session Time: 10-12 Place: Biomedicum 1, kok.3

## Slide 2: At the end of this session you should know:
Principles of mass spectrometry
Components of MS instruments
Tandem MS
Data acquisition techniques
DDA/DIA
Labelling (TMT/SILAC) to be added
SRM/SIM to be added

## Slide 3: Individual assignment 15 min

## Slide 4: workflow
https://pel.caltech.edu/approach
???

## Slide 5: workflow
https://pel.caltech.edu/approach
???

## Slide 6
Principles of mass spectrometry
generating charged particles (ions) to generate ion beam
ion beam manipulated under high vacuum
measure ions mass to charge ratio
  Parent ions
  daughter ions (fragmented)
mass spectrometers do not measure mass

## Slide 7
https://monomole.com/mass-spectrometry-thomson-cathode-ray/
Invented by jj thompson in 1913
evacuated tube filled with gas
Cathode with voltage applied to it
(ion Source)
beam
Collimated beam
slits
Two mass filters
- magnetic coils -> magnetic field
- electrical diffraction plates -> electrical field
bent
detector -> fluorescent coating
it will fluoresce when charged particle beam hits
He was able to separate different Neon isotope

## Slide 8
Nominal masses
A: 680
B: 481
C: 400
A: (680+1)/1=681 and (680+2)/2=341
B: 482
C: 201

## Slide 9
https://thornsandthistleshomestead.wordpress.com/2014/12/04/essential-oil-testing-deeper-dive-mass-spec/
Mass filter
An array of decetecor
= spectrum

## Slide 11: Ionization sources
Electrospray
MALDI
Other methods
https://pubs.rsc.org/en/content/articlelanding/2014/np/c3np70094a

## Slide 12
matrix assisted laser desorption ionization
https://www.researchgate.net/figure/Mechanism-of-matrix-assisted-laser-desorption-ionization-process_fig3_335037795

## Slide 13
https://www.youtube.com/watch?v=0jeFpXHZ8W0

## Slide 14
http://www.chem.cmu.edu/cma/maldischem.html

## Slide 15
https://www.youtube.com/watch?v=9AWBAI-Owzk

## Slide 16
https://www.shimadzu.com/an/service-support/technical-support/analysis-basics/fundamental/mass_analyzers.html
Good for partent ions selection

## Slide 17
https://www.youtube.com/watch?v=W-DRL-V2Rkg

## Slide 18
https://www.youtube.com/watch?v=RsFsaCkVqxM

## Slide 21
1. Data Acquisition technique

## Slide 22
1. Data-Dependent Acquisition (DDA)
📌 Most common in discovery proteomics 🔹 MS¹ scans all ions 🔹 Selects the top N most intense ions 🔹 Fragments them (MS²) → identifies peptides
✅ Pros: good ID quality ❌ Cons: may miss low-abundance peptides (biased)

## Slide 23
2. Data-Independent Acquisition (DIA)
📌 Newer and increasingly popular 🔹 MS scans all ions in defined m/z windows (not just top ones) 🔹 Fragments everything in those windows 🔹 Generates complex MS² spectra, analyzed with advanced software
✅ Pros: more comprehensive, less biased ❌ Cons: complex data, needs good spectral libraries

## Slide 24
Designed by me
PPT file -> https://github.com/esnzgn/MSPROT