## Slide 1: How Does MS Work? Ehsan Zangene 5th session Time: 10-12 Place: Biomedicum 1, kok.3

## Slide 2: At the end of this session you should know:
Principles of mass spectrometry
Components of MS instruments
Tandem MS
Data acquisition techniques
DDA/DIA
TMT labelling

## Slide 3: Individual assignment 15 min

## Slide 4: workflow
https://pel.caltech.edu/approach

## Slide 5: workflow
https://pel.caltech.edu/approach

## Slide 6
Principles of mass spectrometry
generating charged particles (ions) to generate ion beam
ion beam manipulated under high vacuum
measure ions mass to charge ratio
  Parent ions
  daughter ions (fragmented)
mass spectrometers do not measure mass

## Slide 7
https://monomole.com/mass-spectrometry-thomson-cathode-ray/
invented by jj thompson in 1913
evacuated tube filled with gas
Cathode with voltage applied to it
(ion Source)
beam
Collimated beam
slits
Two mass filters
- magnetic coils -> magnetic field
- electrical diffraction plates -> electrical field
bent
detector -> fluorescent coating
it will fluoresce when charged particle beam hits
He was able to separate different Neon isotope

## Slide 8
https://thornsandthistleshomestead.wordpress.com/2014/12/04/essential-oil-testing-deeper-dive-mass-spec/
Mass filter

## Slide 9: Ionization sources
Electrospray
MALDI
Other methods
https://pubs.rsc.org/en/content/articlelanding/2014/np/c3np70094a